## Example
Example case: a generic Trastuzumab IgG1-based ADC conjugated via maleimido-vc-PABC-MMAE
Please insert these values in Deconvoluted Mass finder.py GUI
Comment
Antibody Mass 1 (Da): | 145617.72 | IgG1 average MW
Antibody Mass 2 (Da): | 145489.5477 | IgG1 -1Lys HC C-clipping
Antibody Mass 3 (Da): | 145361.3754 | IgG1 -2Lys HC C-clipping
Antibody Mass 4 (Da): | 145247.2728 | IgG1 -2GlyLys HC C-clipping
Antibody Mass 5 (Da): | 145600.7127 | IgG1 -1pyroQ HC N-terminus
DAR | 2 | Insert the highest DAR theoretically present in the sample, based on conjugation type (it will calculate DAR species from 4 to 0)
Linker Payload Mass (Da): | 1316.65 | Insert intact linker payload average mass
Delta Mass (Da) | 0 | 17.0305 | ammonia loss for Transglutaminase conjugation, no delta mass for cysteines addition
Degradation Mass 1 (Da): (Linker-specific) | 211.217 | Insert degradation mass 1 w/o delta mass correction
Degradation Mass 2 (Da): (Linker-specific) | 310.35 | Insert degradation mass 2 w/o delta mass correction
Degradation Mass 3 (Da): (Linker-specific) | 467.523 | Insert degradation mass 3 w/o delta mass correction
Degradation Mass 4 (Da): (Linker-specific) | 554.648 | Insert degradation mass 4 w/o delta mass correction
Degradation Mass 5 (Da): (Linker-specific) | 572.663 | Insert degradation mass 5 w/o delta mass correction, put zero if no other modifications on linker payload are hypotesized
A2G0F (Da): | 1445.32
A2G0 (Da): | 1299.18
A2G1F (Da): | 1607.46
A2G2F (Da): | 1769.6
Accuracy (ppm): | 5
Number of Cysteines: | 32 | Number of total cysteines involved in disulphide bond/ linker payload conjugation
Amino acid loss (for heavy chain C-clipping proteoforms)
UWPR
amino acid | code | abbrev | composition | mono mass | avg mass
glycine | G | GLY | C2H3NO | 57.0215 | 57.0513
alanine | A | ALA | C3H5NO | 71.0371 | 71.0779
serine | S | SER | C3H5NO2 | 87.032 | 87.0773
proline | P | PRO | C5H7NO | 97.0528 | 97.1152
valine | V | VAL | C5H9NO | 99.0684 | 99.1311
threonine | T | THR | C4H7NO2 | 101.0477 | 101.1039
cysteine | C | CYS | C3H5NOS | 103.0092 | 103.1429
leucine | L | LEU | C6H11NO | 113.0841 | 113.1576
isoleucine | I | ILE | C6H11NO | 113.0841 | 113.1576
asparagine | N | ASN | C4H6N2O2 | 114.0429 | 114.1026
aspartic acid | D | ASP | C4H5NO3 | 115.0269 | 115.0874
glutamine | Q | GLN | C5H8N2O2 | 128.0586 | 128.1292
lysine | K | LYS | C6H12N2O | 128.095 | 128.1723
glutamic acid | E | GLU | C5H7NO3 | 129.0426 | 129.114
methionine | M | MET | C5H9NOS | 131.0405 | 131.1961
histidine | H | HIS | C6H7N3O | 137.0589 | 137.1393
phenylalanine | F | PHE | C9H9NO | 147.0684 | 147.1739
selenocysteine | U | SEC | C3H5NOSe | 150.9536 | 150.3079
arginine | R | ARG | C6H12N4O | 156.1011 | 156.1857
tyrosine | Y | TYR | C9H9NO2 | 163.0633 | 163.1733
tryptophan | W | TRP | C11H10N2O | 186.0793 | 186.2099
pyrrolysine | O | PYL | C12H19N3O2 | 237.1477 | 237.2982
element | code | mono mass | avg mass
Hydrogen | H | 1.0078 | 1.0079
Carbon | C | 12 | 12.0107
Nitrogen | N | 14.0031 | 14.0067
Oxygen | O | 15.9949 | 15.9994
Phosphorus | P | 30.9738 | 30.9738
Sulphur | S | 31.9721 | 32.065
Selenium | Se | 79.9165 | 79.96
proton | H+ | 1.0073 | 1.0074
| glycan | mono mass | avg mass
| A2G0F | 1444.5339 | 1445.32
| A2G1F | 1606.5867 | 1607.46
| A2G2F | 1768.6395 | 1769.6
| A2G0 | 1298.476 | 1299.18
Intact linker payload
Molecular weight: | 1316.65
Exact molecular weight: | 1315.7792
Formula: C68H105N11O15
Degradation Mass 1 (Da):
Molecular weight: | 211.217
Exact molecular weight: | 211.0845
Formula: C10H13NO4
Degradation Mass 2 (Da):
Molecular weight: | 310.35
Exact molecular weight: | 310.1529
Formula: C15H22N2O5
Degradation Mass 3 (Da):
Molecular weight: | 467.523
Exact molecular weight: | 467.238
Formula: C21H33N5O7
Degradation Mass 4 (Da):
Molecular weight: | 554.648
Exact molecular weight: | 554.2853
Formula: C28H38N6O6
Degradation Mass 5 (Da):
Molecular weight: | 572.663
Exact molecular weight: | 572.2958
Formula: C28H40N6O7

## Example (2)
Example case: a generic Trastuzumab IgG1-based ADC conjugated via maleimido-vc-PABC-MMAE
Please insert these values in Deconvoluted Mass finder.py GUI
Comment
Antibody Mass 1 (Da): | 145617.72 | IgG1 average MW
Antibody Mass 2 (Da): | 145489.5477 | IgG1 -1Lys HC C-clipping
Antibody Mass 3 (Da): | 145361.3754 | IgG1 -2Lys HC C-clipping
Antibody Mass 4 (Da): | 145247.2728 | IgG1 -2GlyLys HC C-clipping
Antibody Mass 5 (Da): | 145600.7127 | IgG1 -1pyroQ HC N-terminus
DAR | 2 | Insert the highest DAR theoretically present in the sample, based on conjugation type (it will calculate DAR species from 4 to 0)
Linker Payload Mass (Da): | 1316.65 | Insert intact linker payload average mass
Delta Mass (Da) | 0 | 17.0305 | ammonia loss for Transglutaminase conjugation, no delta mass for cysteines addition
Degradation Mass 1 (Da): (Payload-specific) | 1183.456 | Insert degradation mass 1 w/o delta mass correction
Degradation Mass 2 (Da): (Payload-specific) | 1014.232 | Insert degradation mass 2 w/o delta mass correction
Degradation Mass 3 (Da): (Payload-specific) | 828.965 | Insert degradation mass 3 w/o delta mass correction
Degradation Mass 4 (Da): (Payload-specific) | 729.832 | Insert degradation mass 4 w/o delta mass correction
Degradation Mass 5 (Da): (Payload-specific) | 572.663 | Insert degradation mass 5 w/o delta mass correction, put zero if no other modifications on linker payload are hypotesized
A2G0F (Da): | 1445.32
A2G0 (Da): | 1299.18
A2G1F (Da): | 1607.46
A2G2F (Da): | 1769.6
Accuracy (ppm): | 5
Number of Cysteines: | 32 | Number of total cysteines involved in disulphide bond/ linker payload conjugation
586.818
Amino acid loss (for heavy chain C-clipping proteoforms)
UWPR
amino acid | code | abbrev | composition | mono mass | avg mass
glycine | G | GLY | C2H3NO | 57.0215 | 57.0513
alanine | A | ALA | C3H5NO | 71.0371 | 71.0779
serine | S | SER | C3H5NO2 | 87.032 | 87.0773
proline | P | PRO | C5H7NO | 97.0528 | 97.1152
valine | V | VAL | C5H9NO | 99.0684 | 99.1311
threonine | T | THR | C4H7NO2 | 101.0477 | 101.1039
cysteine | C | CYS | C3H5NOS | 103.0092 | 103.1429
leucine | L | LEU | C6H11NO | 113.0841 | 113.1576
isoleucine | I | ILE | C6H11NO | 113.0841 | 113.1576
asparagine | N | ASN | C4H6N2O2 | 114.0429 | 114.1026
aspartic acid | D | ASP | C4H5NO3 | 115.0269 | 115.0874
glutamine | Q | GLN | C5H8N2O2 | 128.0586 | 128.1292
lysine | K | LYS | C6H12N2O | 128.095 | 128.1723
glutamic acid | E | GLU | C5H7NO3 | 129.0426 | 129.114
methionine | M | MET | C5H9NOS | 131.0405 | 131.1961
histidine | H | HIS | C6H7N3O | 137.0589 | 137.1393
phenylalanine | F | PHE | C9H9NO | 147.0684 | 147.1739
selenocysteine | U | SEC | C3H5NOSe | 150.9536 | 150.3079
arginine | R | ARG | C6H12N4O | 156.1011 | 156.1857
tyrosine | Y | TYR | C9H9NO2 | 163.0633 | 163.1733
tryptophan | W | TRP | C11H10N2O | 186.0793 | 186.2099
pyrrolysine | O | PYL | C12H19N3O2 | 237.1477 | 237.2982
element | code | mono mass | avg mass
Hydrogen | H | 1.0078 | 1.0079
Carbon | C | 12 | 12.0107
Nitrogen | N | 14.0031 | 14.0067
Oxygen | O | 15.9949 | 15.9994
Phosphorus | P | 30.9738 | 30.9738
Sulphur | S | 31.9721 | 32.065
Selenium | Se | 79.9165 | 79.96
proton | H+ | 1.0073 | 1.0074
| glycan | mono mass | avg mass
| A2G0F | 1444.5339 | 1445.32
| A2G1F | 1606.5867 | 1607.46
| A2G2F | 1768.6395 | 1769.6
| A2G0 | 1298.476 | 1299.18
Intact linker payload
Molecular weight: | 1316.65
Exact molecular weight: | 1315.7792
Formula: C68H105N11O15
Degradation Mass 1 (Da):
Molecular weight: | 211.217
Exact molecular weight: | 211.0845
Formula: C10H13NO4
Degradation Mass 2 (Da):
Molecular weight: | 310.35
Exact molecular weight: | 310.1529
Formula: C15H22N2O5
Degradation Mass 3 (Da):
Molecular weight: | 467.523
Exact molecular weight: | 467.238
Formula: C21H33N5O7
Degradation Mass 4 (Da):
Molecular weight: | 572.663
Exact molecular weight: | 572.2958
Formula: C28H40N6O7

## summary_results_SST_ADC
Molecule ID | Concentration (µg/mL) | Mean DAR | Explained area percentage
Trastuzumab ADC | 5 | 0.98099 | 100
Trastuzumab ADC | 10 | 0.99677 | 97.3373
Trastuzumab ADC | 20 | 0.99309 | 93.6846
Trastuzumab ADC | 40 | 1.0254 | 95.4611
Trastuzumab ADC | 60 | 1.0072 | 93.5133
Trastuzumab ADC | 100 | 0.92228 | 92.9712
Average |  | 0.98762
std.dev |  | 0.035327
RSD% |  | 3.5769